## Introduction
STATISTICAL PROCEDURES
FOR THE MEDICAL DEVICE INDUSTRY
STAT-18: Normality Testing and Transformations
Dr. Wayne A. Taylor
For those purchasing the book Statistical Procedures for the Medical Device Industry, this file contains a spreadsheet for performing the Skewness Kurtosis All and Specific normality tests. Further information about the use of this spreadsheet is provided in the book.
|  | Book Link: |  | www.variation.com/procedures
Copyright © 2017 Taylor Enterprises, Inc.
All rights reserved.
Revision 1: 8/30/2017
www.variation.com
info@variation.com
Table of Contents
STAT 18, Appendix A: General Normality Tests
STAT 18, Appendix C: Skewness-Kurtosis Specific Normality Test
Skewness Kurtosis Normality Tests
Further Information:
Example Data Sets

## Skewness Kurtosis Norm Tests
STATISTICAL PROCEDURES FOR THE MEDICAL DEVICE INDUSTRY
STAT-18, Statistical Techniques for Normality Testing and Transformation
Appendix A: General Normality Tests
Appendix C: Skewness-Kurtosis Specific Normality Test
Type Specification Limits: | T | T - two-sided specification
U - upper specificiation limit only
L - Lower specification limit only
Data | Data |  | Skewness = | #DIV/0!
|  |  | Y = | #DIV/0!
| Sample Size | 0 | B2 = | 1
| Average |  | W2 = | -1
| Standard Deviation |  | Delta = | #NUM!
| Skewness |  | Alpha = | #NUM!
| Excess Kurtosis |  | Z = | #NUM!
p-value <> =
p-value > =
| Skewness-Kurtosis All Normality Test (Requires at least 15 Samples) |  | p-value < =
| P-value: |  | Kurtosis = | #VALUE!
| Conclusion: | Insufficient data to perform analysis. | Eb2 = | -3
|  |  | VarB2 = | 0
|  |  | x = | #VALUE!
| Skewness-Kurtosis Specific Normality Test (Requires at least 15 Samples) |  | 3StdMom = | #DIV/0!
|  |  | A = | #DIV/0!
| Conclusion: | Insufficient data to perform analysis. |  | #DIV/0!
|  |  | Z= | #DIV/0!
p-value <> =
p-value > =
p-value < =
|  |  | K^2 | #NUM!
|  |  | p-value | #NUM!

## Example Data Sets
STATISTICAL PROCEDURES FOR THE MEDICAL DEVICE INDUSTRY
Example Data Sets
STAT-18, Statistical Techniques for Normality Testing and Transformations
Appendix A: General Normality Tests
| Sample | Diameter
| 1 | 0.1257
| 2 | 0.1249
| 3 | 0.1257
| 4 | 0.125
| 5 | 0.1264
| 6 | 0.1238
| 7 | 0.1254
| 8 | 0.1248
| 9 | 0.1253
| 10 | 0.1234
| 11 | 0.1262
| 12 | 0.1262
| 13 | 0.1269
| 14 | 0.1245
| 15 | 0.1252
| 16 | 0.1254
| 17 | 0.1258
| 18 | 0.1244
| 19 | 0.125
| 20 | 0.1234
Appendix B: Effects of Ties on General Normality Tests
| Sample | Unrounded | Rounded to 0.5
| 1 | 9.4868 | 9.5
| 2 | 10.5364 | 10.5
| 3 | 8.83 | 9
| 4 | 9.5415 | 9.5
| 5 | 10.6677 | 10.5
| 6 | 9.0122 | 9
| 7 | 9.4257 | 9.5
| 8 | 10.0366 | 10
| 9 | 10.5456 | 10.5
| 10 | 11.6731 | 11.5
| 11 | 11.9423 | 12
| 12 | 9.3877 | 9.5
| 13 | 9.4814 | 9.5
| 14 | 9.2577 | 9.5
| 15 | 9.9179 | 10
| 16 | 10.508 | 10.5
| 17 | 10.1186 | 10
| 18 | 10.9491 | 11
| 19 | 9.8466 | 10
| 20 | 9.381 | 9.5
| 21 | 8.3139 | 8.5
| 22 | 8.4708 | 8.5
| 23 | 10.0762 | 10
| 24 | 10.6111 | 10.5
| 25 | 8.2101 | 8
| 26 | 10.0682 | 10
| 27 | 8.9879 | 9
| 28 | 10.0477 | 10
| 29 | 9.4101 | 9.5
| 30 | 10.1753 | 10
| 31 | 10.0632 | 10
| 32 | 10.3113 | 10.5
| 33 | 10.3105 | 10.5
| 34 | 10.127 | 10
| 35 | 11.3754 | 11.5
| 36 | 9.7766 | 10
| 37 | 11.2024 | 11
| 38 | 10.0266 | 10
| 39 | 12.095 | 12
| 40 | 10.3457 | 10.5
| 41 | 9.1262 | 9
| 42 | 10.8733 | 11
| 43 | 9.0976 | 9
| 44 | 10.1617 | 10
| 45 | 9.3254 | 9.5
| 46 | 10.2807 | 10.5
| 47 | 9.9403 | 10
| 48 | 9.2542 | 9.5
| 49 | 10.5189 | 10.5
| 50 | 9.081 | 9
Appendix C: Skewness-Kurtosis Specific Normality Test
Appendix E: Sublotting Data using ANOVA
Appendix F: Sublotting Data using Kruskalls-Wallis Test
| Sample | Torque | Subgroup | Cavity
| 1 | 24 | 1 | 2
| 2 | 23 | 1 | 1
| 3 | 24 | 1 | 2
| 4 | 26 | 2 | 3
| 5 | 24 | 2 | 1
| 6 | 28 | 2 | 3
| 7 | 30 | 3 | 3
| 8 | 22 | 3 | 2
| 9 | 28 | 3 | 4
| 10 | 26 | 4 | 3
| 11 | 24 | 4 | 1
| 12 | 30 | 4 | 3
| 13 | 24 | 5 | 2
| 14 | 22 | 5 | 2
| 15 | 26 | 5 | 3
| 16 | 22 | 6 | 1
| 17 | 30 | 6 | 4
| 18 | 26 | 6 | 3
| 19 | 22 | 7 | 1
| 20 | 30 | 7 | 4
| 21 | 30 | 7 | 4
| 22 | 24 | 8 | 2
| 23 | 30 | 8 | 4
| 24 | 28 | 8 | 3
| 25 | 24 | 9 | 2
| 26 | 28 | 9 | 3
| 27 | 30 | 9 | 4
| 28 | 22 | 10 | 1
| 29 | 20 | 10 | 1
| 30 | 32 | 10 | 4
Appendix D: Transforming Data
| Sample | Break Force | Subgroup
| 1 | 2.3 | 1
| 2 | 3.5 | 1
| 3 | 2.6 | 2
| 4 | 3.6 | 2
| 5 | 1.4 | 3
| 6 | 2.2 | 3
| 7 | 2.9 | 4
| 8 | 2.6 | 4
| 9 | 3.3 | 5
| 10 | 2 | 5
| 11 | 2.4 | 6
| 12 | 2.2 | 6
| 13 | 2 | 7
| 14 | 3.2 | 7
| 15 | 2.2 | 8
| 16 | 2.6 | 8
| 17 | 4.3 | 9
| 18 | 2 | 9
| 19 | 3.3 | 10
| 20 | 2.4 | 10
| 21 | 2.4 | 11
| 22 | 2.4 | 11
| 23 | 3.2 | 12
| 24 | 3.6 | 12
| 25 | 2.8 | 13
| 26 | 4.6 | 13
| 27 | 2.2 | 14
| 28 | 5.4 | 14
| 29 | 2.8 | 15
| 30 | 2.6 | 15
| 31 | 2.2 | 16
| 32 | 2.2 | 16
| 33 | 4.4 | 17
| 34 | 2.9 | 17
| 35 | 2.9 | 18
| 36 | 2.5 | 18
| 37 | 2.4 | 19
| 38 | 3.9 | 19
| 39 | 5.1 | 20
| 40 | 3.5 | 20
| 41 | 2 | 21
| 42 | 3.9 | 21
| 43 | 3.3 | 22
| 44 | 2 | 22
| 45 | 2.8 | 23
| 46 | 2.5 | 23
| 47 | 3.1 | 24
| 48 | 3.3 | 24
| 49 | 4.3 | 25
| 50 | 1.7 | 25